## Tabelle1
Rank | Site ID | OTA ID | Region | City | Postcode | Street | Latitude | Longitude | High Voltage Grid Substation | Distance to HV Grid Substation (km) | Available Grid Capacity (MW) | Distribution Substation | Distance to Dist. Substation | Composite Score (%) | Consumption of the Site (kW) | Current No. of Tenants | Distance from Power Meter | Notes / Additional Information
1 | 150328A | 43150328A | Wien | Wien | 1220 | Finsterbuschstraße | 48.1672 | 16.5125 | UW SIMMERING | 3.425 | 97 | OSM 12532489257 | 551 m | 100 |  | 1 | 65 | PM not at site
2 | 150290D | 43150290D | Wien | Wien | 1230 | Eduard-Kittenberger-Gasse 99 | 48.1369 | 16.3047 | UW LIESING 20KV | 1.444 | 71 | OSM 12178543250 | 218 m | 94.45 |  | 1 | 170 | PM not at site
3 | 150449A | 43150449A | Wien | Wien | 1120 | Oswaldgasse 32 Objekt 1 / Sportplatz | 48.1682 | 16.3242 | UW GAUDENZDORF | 0.233 | 76 | OSM 12872710379 | 316 m | 88.77 |  | 1 | 80 | PM not at site
4 | 130123A | 43130123A | Wien | Wien | 1230 | Brunner Straße 72 | 48.1325 | 16.296 | UW LIESING 20KV | 1.394 | 71 | OSM 12168396574 | 249 m | 88.23 |  | 2 | 60 | Powermeter in LL property ÖBB
5 | 130030B | 43130030B | Wien | Wien | 1230 | Perfektastrasse 61 | 48.1351 | 16.3139 | UW LIESING 20KV | 2.141 | 71 | OSM 12178543249 | 298 m | 88.21 |  | 1 | 5 | PM at site
6 | 140059A | 43140059A | Wien | Wien | 1140 | Achtundvierzigerplatz Sportanlage | 48.2029 | 16.2879 | UW OTTAKRING | 1.578 | 68 | OSM 12923388303 | 421 m | 84.5 |  | 2 | 60 | PM not at site
7 | 120120A | 43120120A | Wien | Wien | 1190 | Kuchelauer Hafenstraße 2 | 48.2739 | 16.3583 | UW HEILIGENSTADT | 2.727 | 64 | OSM 4784536014 | 671 m | 81.75 |  | 2 | 30 | PM not at site
8 | 120075B | 43120075B | Wien | Wien | 1020 | Gärtnerstraße 66 (ONr. 2, Obj 1) | 48.1865 | 16.4354 | UW HANDELSKAI | 2.143 | 76 | OSM 12871677483 | 1.12 km | 80.55 |  | 1 | 200 | PM not at site
9 | 600050A | 43600050A | Kärnten | Klagenfurt am Wörthersee | A-9020 | Lodengasse 28 | 46.6072 | 14.2925 | UWW West | 1.032 | 44 | Kärntnerland Waidmannsdorferstr. 130 | 262 m | 76.69 |  | 1 | 5 | PM at site
10 | 120100A | 43120100A | Wien | Wien | 1220 | Am Kaisermühlendamm | 48.2133 | 16.4454 | UW HANDELSKAI | 1.569 | 76 | OSM 12534092133 | 1.31 km | 76.3 |  | 1 | 100 | PM not at site
11 | 400116A | 43400116A | Steiermark | Graz | 8020 | Lastenstrasse 9a | 47.0814 | 15.4147 | UW Nord | 1.406 | 34 | Hauptbahnhof Lastenstrasse | 58 m | 73.87 |  | 2 | 12 | PM at site
12 | 150502A | 43150502A | Wien | Wien | 1210 | Schererstr. 111 Fahnenmast | 48.2767 | 16.4479 | UW NORD | 1.84 | 64 | OSM 12495460700 | 1.01 km | 72.01 |  | 1 | 20 | PM at site
13 | 640013B | 43640013B | Kärnten | Klagenfurt | 9020 | Kohldorfer Straße 98 | 46.6228 | 14.2675 | UWW West | 1.591 | 44 | Paternionerbrücke | 381 m | 72 |  | 2 | 3 | PM at site
14 | 140013A | 43140013A | Wien | Wien | 1140 | Baumgartner Höhe 282B | 48.206 | 16.2778 | UW OTTAKRING | 1.998 | 68 | OSM 6558691006 | 1.14 km | 71.47 |  | 2 | 35 | PM not at site
15 | 840474A | 43840474A | Tirol | Innsbruck | 6020 | Trientlgasse 28 | 47.2696 | 11.4331 | UW Ost | 0.053 | 40 | Ust. Valiergasse 38 | 284 m | 71.28 |  | 1 | 10 | PM at site
16 | 840102A | 43840102A | Tirol | St. Johann | 6380 | Gst.3496/1 KG St.Johann 82114 | 47.5201 | 12.402 | UW St.Johann | 1.341 | 52 | OSM 2122656689 | 686 m | 70.69 |  | 1 | 6 | PM at site
17 | 740052A | 43740052A | Salzburg | Salzburg | 5020 | Anton Kolig Straße 5 | 47.793 | 13.0721 | UW Mitte | 3.119 | 42 | OSM 13522925976 | 401 m | 70.31 |  | 2 | 8 | PM at site
18 | 150279B | 43150279B | Wien | Wien | 1110 | Landwehrstraße 6 | 48.1709 | 16.4748 | UW SIMMERING | 1.03 | 97 | OSM 12532489257 | 2.28 km | 70.11 |  | 1 | 20 | PM at site
19 | 150261A | 43150261A | Wien | Wien | 1170 | Hernalser Hauptstraße 214-216 | 48.2257 | 16.3104 | UW WÄHRING | 1.255 | 71 | OSM 12670410133 | 1.44 km | 69.32 |  | 2 | n/a | ID Powermeter and Equipment room, Football stadion, needs a detailed check
20 | 840228A | 43840228A | Tirol | Innsbruck | 6020 | Fürstenweg 141 | 47.2604 | 11.3652 | UW Pastor | 2.043 | 45 | OSM 13384089225 | 597 m | 68.93 |  | 1 | 15 | PM at site
21 | 220060C | 43220060C | Niederösterreich | Vösendorf | 2331 | Metro Platz 1 | 48.1261 | 16.3249 | UW LIESING 20KV | 3.366 | 71 | OSM 12178543249 | 1.59 km | 68.77 |  | 1 | 4 | PM at site
22 | 130007E | 43130007E | Wien | Wien | 1230 | Sterngasse 6 | 48.1496 | 16.3443 | UW FAVORITEN | 2.138 | 76 | OSM 9993551848 | 1.90 km | 67.96 |  | 1 | 110 | PM not on site
23 | 520065A | 43520065A | Oberösterreich | Steyr | 4400 | Burgholzerweg 4 | 48.034 | 14.4432 | UW STEYR | 1.083 | 61 | OSM 11764503438 | 1.36 km | 67.47 |  | 1 | 2 | PM at site
24 | 440061A | 43440061A | Steiermark | Graz | 8020 | Vinzenz-Muchitsch-Str. 24 | 47.0529 | 15.4259 | UW Süd | 1.141 | 42 | OSM 12700712899 | 624 m | 66.66 |  | 1 | 3 | PM at site
25 | 240010A | 43240010A | Niederösterreich | Spratzern | 3106 | Herbert Wieden-Gasse 3 | 48.1797 | 15.6208 | UW St. Pölten West | 2.378 | 34 | OSM 11961127248 | 341 m | 66.1 |  | 2 | 10 | PM at site
26 | 240601A | 43240601A | Niederösterreich | Voesendorf | 2331 | Wilhelm Hafenscher-Gasse 1B | 48.1226 | 16.3223 | UW LIESING 20KV | 3.464 | 71 | OSM 12178543249 | 1.83 km | 65.79 |  | 2 | n/a | Sub PM, needs detailed ckeck with LL
27 | 400069B | 43400069B | Steiermark | Graz | 8020 | Puchstrasse 47 | 47.0499 | 15.4353 | UW Süd | 0.377 | 42 | OSM 7659238873 | 693 m | 65.3 |  | 2 | n/a | PM at site
28 | 130076A | 43130076A | Wien | Wien | 1100 | Segnerstraße 3A Obj. 1 | 48.1395 | 16.4083 | UW WEIßGERBER | 2.151 | 76 | OSM 12802730444 | 2.07 km | 64.51 |  | 1 | 200 | PM not at site
29 | 840244A | 43840244A | Tirol | Kufstein | 6330 | Grst.Nr.: 1037/1 | 47.5765 | 12.1766 | UW Kufstein | 2.182 | 43 | Krankenhausgasse | 744 m | 63.68 |  | 2 | 10 | PM at site
30 | 140025A | 43140025A | Wien | Wien | 1190 | Hackenbergweg vis a vis Nr. 54 | 48.2489 | 16.315 | UW WÄHRING | 1.509 | 71 | OSM 12925619382 | 1.92 km | 63.33 |  | 2 | 125 | PM not at site
31 | 840268B | 43840268B | Tirol | St. Johann in Tirol | 6380 | Gst.: 248/1 | 47.5326 | 12.4338 | UW St.Johann | 2.171 | 52 | OSM 3505771387 | 1.17 km | 63.26 |  | 1 | n/a | PM at site
32 | 240078A | 43240078A | Niederösterreich | Leopoldsdorf bei Wien | 2333 | Friedhofstraße 1 | 48.1097 | 16.3855 | UW EISENSTADTPLATZ | 5.326 | 71 | OSM 9891266909 | 1.99 km | 62.1 |  | 1 | 200 | PM not at site
33 | 840104A | 43840104A | Tirol | Oberndorf | 6372 | Josef-Hagerstraße 30 | 47.4961 | 12.3874 | UW St.Johann | 3.222 | 52 | OSM 12393104450 | 1.20 km | 61.65 |  | 1 | 10 | PM at site
34 | 200024C | 43200024C | Niederösterreich | St. Poelten | 3100 | Handel Mazzetti-Straße 117 | 48.1835 | 15.6266 | UW St. Pölten West | 2.256 | 34 | OSM 11961127248 | 467 m | 61.65 |  | 2 | 10 | PM at site
35 | 640104A | 43640104A | Kärnten | Villach | 9500 | Maria Gailer Str. 33 | 46.6063 | 13.8672 | UW Auen | 1.354 | 34 | Villach Neukauf Promenade Nord | 499 m | 61.28 |  | 2 | 12 | PM at site
36 | 400144A | 43400144A | Steiermark | Graz | 8010 | Angelo-Eustacchio-Gasse 4 | 47.0627 | 15.475 | UW Ost | 2.26 | 34 | St. Peter Hauptstraße 27 | 533 m | 60.04 |  | 1 | 10 | PM at site
37 | 840051B | 43840051B | Tirol | Kramsach | 6233 | Gst.Nr. 421/1 | 47.4533 | 11.8696 | UW Kramsach | 2.188 | 26 | Kramsach/Mariatal | 184 m | 59.31 |  | 1 | 10 | PM at site
38 | 800007A | 43800007A | Tirol | Innsbruck | 6020 | Karl-Innerebner-Straße 67m | 47.2658 | 11.3605 | UW Mitte | 2.514 | 35 | Ust. Grauer-Stein-Weg | 629 m | 59.16 |  | 1 | 6 | PM at site
39 | 800167B | 43800167B | Tirol | Ampass | 6070 | GF Gst.Nr. 1263/1 | 47.2632 | 11.456 | UW Ost | 1.891 | 40 | OSM 13160623521 | 862 m | 58.88 |  | 1 | 5 | PM at site
40 | 240128A | 43240128A | Niederösterreich | Perchtoldsdorf | 2380 | Höhenstraße 15 | 48.1185 | 16.2551 | UW LIESING 10KV | 3.676 | 32 | OSM 10784899230 | 504 m | 58.6 |  | 1 | 160 | PM not at site
41 | 120206A | 43120206A | Wien | Wien | 1210 | Nikolsburger Gasse 6 | 48.2956 | 16.429 | UW NORD | 1.247 | 64 | OSM 12495460700 | 2.14 km | 58.39 |  | 1 | 150 | PM not at site
42 | 700059A | 43700059A | Salzburg | Salzburg | 5020 | Neuhäuslweg 1 | 47.782 | 13.0825 | UW Mitte | 4.502 | 42 | OSM 13522925976 | 1.07 km | 58.03 |  | 2 | 7 | PM at site
43 | 840255A | 43840255A | Tirol | Söll | 6306 | Mühlleiten 1 | 47.5063 | 12.1992 | UW Ellmau | 5.622 | 25 | Söll Gänsleit | 234 m | 57.81 |  | 1 | 6 | PM at site
44 | 840287A | 43840287A | Tirol | Kirchbichl | 6322 | Grattenstraße 1 | 47.4938 | 12.0794 | UW Kirchbichl/KW-Kirchbichl | 2.453 | 25 | OSM 11632194953 | 236 m | 57.75 |  | 1 | 10 | PM at site
45 | 440066A | 43440066A | Steiermark | Graz | 8055 | Dr.-Theodor-Pfeiffer-Strasse 40 | 47.042 | 15.4297 | UW Süd | 1.185 | 42 | Wagramer Weg 22 PV Anlage | 1.09 km | 57.57 |  | 2 | 4 | PM at site
46 | 870153A | 43870153A | Tirol | Itter | 6305 | GF Gst 831 Nähe Riesberg 1 | 47.4644 | 12.1336 | UW Hopfgarten | 1.235 | 35 | OSM 10749377927 | 749 m | 56.46 |  | 1 | 10 | PM at site
47 | 900005B | 43900005B | Vorarlberg | Dornbirn | 6850 | Greenfield Sportplatz Erlgrund | 47.4036 | 9.7242 | UW Dornbirn Süd | 0.9 | 59 | Dornbirn Trafostation 975 Fahrzeugbau Wohlgenannt | 1.96 km | 56.43 |  | 1 | n/a | PM at site
48 | 900006B | 43900006B | Vorarlberg | Bregenz | 6900 | Gst-Nr. 430/1, EZ 1066, KG 91119 Rieden | 47.5034 | 9.71 | UW Vorkloster | 1.263 | 31 | OSM 12889401081 | 568 m | 56.21 |  | 2 | 15 | PM at site
49 | 240572A | 43240572A | Niederösterreich | Haag | 3350 | Porstenberg 10 | 48.0789 | 14.522 | UW Haag Süd | 4.698 | 27 | OSM 9789320816 | 426 m | 56.12 |  | 1 | 8 | PM at site
50 | 740041A | 43740041A | Salzburg | Salzburg | 5020 | Grst.Nr.: 1992/1 | 47.7961 | 13.0598 | UW Mitte | 2.193 | 42 | OSM 13522925976 | 1.36 km | 55.82 |  | 1 | 5 | PM at site
51 | 150396A | 43150396A | Wien | Wien | 1220 | Donauturmstraße | 48.241 | 16.4027 | UW MESSE | 3.147 | 36 | OSM 12534010335 | 1.08 km | 55.29 |  | 2 | 55 | PM not at site
52 | 840031A | 43840031A | Tirol | Innsbruck | 6020 | Gst.1508 KG Wilten 81136 | 47.2501 | 11.3514 | UW Pastor | 3.008 | 45 | OSM 13384089226 | 1.60 km | 54.98 |  | 1 | 3 | PM at site
53 | 440182A | 43440182A | Steiermark | Graz | 8042 | Messendorfberg 33 | 47.0524 | 15.4914 | UW Ost | 3.76 | 34 | Messendorf / St.Peter Hauptstraße 239 | 1.02 km | 54.94 |  | 2 | 5 | PM at site
54 | 900036A | 43900036A | Vorarlberg | Lauterach | 6923 | Dammstrasse 8 | 47.4856 | 9.7285 | UW Rieden | 0.729 | 27 | OSM 12889390492 | 631 m | 53.91 |  | 2 | 10 | PM at site
55 | 660004A | 43660004A | Kärnten | Kappel am Krappfeld | 9321 | Gst.Nr. 42/3 | 46.8542 | 14.4717 | UW Treibach | 0.95 | 39 | OSM 8665059729 | 1.38 km | 53.03 |  | 2 | 8 | PM at site
56 | 520034A | 43520034A | Oberösterreich | Steyr | 4400 | Haager Str. 46 | 48.0576 | 14.4528 | UW STEYR | 1.901 | 61 | Johannestor | 2.73 km | 52.71 |  | 1 | 6 | PM at site
57 | 220164B | 43220164B | Niederösterreich | Gloggnitz | 2640 | Hart 112 | 47.6642 | 15.9375 | UW Hart | 0.361 | 27 | TST Gloggnitz Schlaglstraße | 701 m | 52.08 |  | 1 | 105 | PM not at site
58 | 940129A | 43940129A | Vorarlberg | Bregenz | 6900 | Schendlingerstraße 34a | 47.4949 | 9.7203 | UW Vorkloster | 0.038 | 31 | OSM 12889390492 | 975 m | 51.94 |  | 1 | n/a | PM in VKW property, needs detailed ckeck with LL
59 | 840411B | 43840411B | Tirol | Sellrain | 6181 | Sellrain 154 | 47.2181 | 11.2166 | UW Zirl | 6.834 | 20 | OSM 12618358028 | 288 m | 51.44 |  | 1 | 100 | PM not at site
60 | 540182B | 43540182B | Oberösterreich | Leonding | 4020 | Haiböckweg | 48.3061 | 14.2452 | UW Linz Nordwest | 2.364 | 23 | OSM 11918476958 | 530 m | 51.32 |  | 1 | 10 | PM at site
61 | 240143A | 43240143A | Niederösterreich | Brunn am Gebirge | 2345 | A21-Brücke Leop.Gattringer-Str. | 48.1115 | 16.2747 | UW LIESING 10KV | 3.713 | 32 | OSM 9969532057 | 1.14 km | 50.99 |  | 1 | 15 | PM at site
62 | 500097A | 43500097A | Oberösterreich | Linz | 4020 | Unionstraße 34 | 48.2853 | 14.2927 | UW Zentrum | 0.876 | 33 | Umspannwerk Oberfelstraße | 1.22 km | 50.9 |  | 1 | 4 | PM at site
63 | 670140A | 43670140A | Kärnten | Klagenfurt-Viktring | 9073 | Lambichl 7 | 46.5739 | 14.2837 | UWW West | 4.209 | 44 | Viktring Schloss | 1.98 km | 50.77 |  | 1 | 4 | PM at site
64 | 900004A | 43900004A | Vorarlberg | Dornbirn | 6850 | Birkenwiese 63 | 47.4157 | 9.7241 | UW Dornbirn Süd | 0.92 | 59 | Biogasanlage König | 3.06 km | 49.79 |  | 2 | 20 | PM at site
65 | 740042A | 43740042A | Salzburg | Salzburg | 5020 | Kuehbergstrasse | 47.8076 | 13.0772 | UW Mitte | 2.892 | 42 | OSM 13522925976 | 1.90 km | 49.2 |  | 1 | 10 | PM at site
66 | 400085A | 43400085A | Steiermark | Graz | 8054 | Harter Straße 161 | 47.0392 | 15.4017 | UW Webling | 1.33 | 24 | OSM 7480397094 | 669 m | 48.95 |  | 2 | 5 | PM at site
67 | 150002A | 43150002A | Wien | Wien | 1230 | Zangerlestraße 29 | 48.1364 | 16.2255 | UW LIESING 10KV | 4.631 | 32 | OSM 9191758291 | 1.24 km | 48.74 |  | 2 | 140 | PM not at site
68 | 200021D | 43200021D | Niederösterreich | St. Poelten | 3100 | Johann Klapper Strasse 10 | 48.1841 | 15.6397 | UW St. Pölten West | 2.953 | 34 | OSM 11961127248 | 1.44 km | 48.36 |  | 2 | 6 | PM at site
69 | 660058A | 43660058A | Kärnten | St.Veit an der Glan | 9300 | GSt. -Nr.: 1261 / 1 | 46.8164 | 14.431 | UW Treibach | 5.523 | 39 | OSM 8664718476 | 1.91 km | 48.13 |  | 1 | n/a | PM at site
70 | 840323A | 43840323A | Tirol | Pfunds | 6542 | Kobl 200 | 46.9549 | 10.5017 | UW Fiss | 15.666 | 42 | BTS Pfunds Schalkl | 2.15 km | 47.85 |  | 2 | 10 | PM at site
71 | 540305A | 43540305A | Oberösterreich | Vorchdorf | 4655 | Grst.Nr. 1010/7 | 48.0158 | 13.9396 | UW VORCHDORF | 2.751 | 17 | OSM 4265975174 | 294 m | 47.68 |  | 1 | 3 | PM at site
72 | 840140A | 43840140A | Tirol | Vorderthiersee | 6335 | Breiten 1a | 47.5918 | 12.1319 | UW Kufstein | 1.857 | 43 | Bärental | 2.29 km | 47.5 |  | 2 | 10 | PM at site
73 | 740053A | 43740053A | Salzburg | Salzburg | 5020 | Gneiser Straße 6 | 47.781 | 13.0494 | UW Mitte | 3.295 | 42 | OSM 13522925976 | 2.26 km | 47.43 |  | 2 | n/a | PM at site
74 | 200036C | 43200036C | Niederösterreich | St. Pölten | 3100 | Greenfield neben Gutenbergstraße 16 | 48.1962 | 15.5965 | UW St. Pölten West | 0.813 | 34 | OSM 11961140507 | 1.65 km | 46.81 |  | 1 | 190 | PM not at site
75 | 900011C | 43900011C | Vorarlberg | Bregenz | 6900 | Fluherstraße | 47.4942 | 9.746 | UW Rieden | 0.978 | 27 | OSM 12889390492 | 1.13 km | 46.8 |  | 1 | 30 | PM not at site
76 | 240292A | 43240292A | Niederösterreich | St.Valentin | 2632 | Gr.Nr.:218-Grafenbach | 47.6945 | 16.0233 | UW Schoeller | 1.904 | 29 | TST Pottschach BHKW Ternitz | 1.32 km | 46.5 |  | 1 | 6 | PM at site
77 | 840403A | 43840403A | Tirol | Serfaus | 6534 | Grundstücksno. 1704 | 47.0382 | 10.5978 | UW Fiss | 3.973 | 42 | BST Tösens Steinbrücken | 2.37 km | 46.24 |  | 1 | 5 | PM at site
78 | 200003B | 43200003B | Niederösterreich | St Pölten | 3100 | Wienerstrasse 127a | 48.2124 | 15.6431 | UW St. Pölten West | 3.084 | 34 | TST St. Pölten Heitzlerstr. | 1.75 km | 46.22 |  | 1 | 250 | PM not at site
79 | 740061A | 43740061A | Salzburg | Salzburg | 5023 | Grazer Bundesstrasse 30 | 47.812 | 13.0808 | UW Mitte | 3.162 | 42 | OSM 13522925976 | 2.41 km | 46.2 |  | 1 | 45 | PM not at site
80 | 700027A | 43700027A | Salzburg | Salzburg | 5020 | Grst.Nr.: 2380/1 | 47.8311 | 13.07 | UW Hagenau | 3.079 | 68 | OSM 13522925976 | 4.53 km | 45.6 |  | 2 | 8 | PM at site
81 | 260120A | 43260120A | Niederösterreich | Laab im Walde | 2381 | Maurerwaldgasse 20 | 48.155 | 16.1905 | UW SPEISING | 5.344 | 63 | OSM 12163658304 | 4.13 km | 45.41 |  | 1 | 10 | PM at site
82 | 260022A | 43260022A | Niederösterreich | Seitenstetten | 3353 | Weitersdorf 9 | 48.0434 | 14.6461 | UW Haag Süd | 7.768 | 27 | OSM 11510555137 | 1.20 km | 45.09 |  | 2 | 8 | PM at site
83 | 700047A | 43700047A | Salzburg | Salzburg | 5020 | Karl Höller Strasse 11 | 47.7885 | 13.0428 | UW Mitte | 2.385 | 42 | OSM 13522925976 | 2.50 km | 44.59 |  | 2 | 11 | PM at site
84 | 360103A | 43360103A | Steiermark | Graz | 8051 | Grst.Nr. 916/1 | 47.0888 | 15.3853 | UW Nord | 2.395 | 34 | Hauptbahnhof Plabutscherstrasse 16 | 1.86 km | 44.49 |  | 1 | 10 | PM at site
85 | 840417A | 43840417A | Tirol | Tulfes | 6060 | Moargasse, Monopole, Gst.Nr. 2080, EZ 90022 | 47.2541 | 11.5307 | UW Hall | 3.356 | 45 | St. Mitteregg | 2.81 km | 44.44 |  | 1 | 15 | PM at site
86 | 640129A | 43640129A | Kärnten | Villach | 9500 | GSt. -Nr.: 1296 / 2 | 46.5861 | 13.8576 | UW Auen | 1.034 | 34 | Villach Neukauf Promenade Süd | 1.92 km | 44.26 |  | 1 | 70 | PM not at site
87 | 400143C | 43400143C | Steiermark | Graz | 8054 | Bahnhofstrasse | 47.0174 | 15.4045 | UW Pirka | 1.392 | 17 | Gradnerstraße 180 | 503 m | 44.22 |  | 1 | 8 | PM at site
88 | 440229A | 43440229A | Steiermark | Graz | 8055 | Alte Poststraße 371 | 47.0436 | 15.4219 | UW Webling | 1.026 | 24 | Weblingergürtel 25 Station 2 | 1.13 km | 43.71 |  | 1 | 5 | PM at site
89 | 740012A | 43740012A | Salzburg | Salzburg | 5020 | Gaglhamerweg 29, Salzburg | 47.83 | 13.0433 | UW Hagenau | 1.106 | 68 | OSM 13522925976 | 5.03 km | 43.38 |  | 3 | 8 | PM at site
90 | 240001A | 43240001A | Niederösterreich | Stattersdorf | 3100 | Gst.Nr. 1159/1 | 48.1773 | 15.6463 | UW St. Pölten West | 3.792 | 34 | OSM 11961127248 | 2.01 km | 42.81 |  | 2 | 15 | PM at site
91 | 960091A | 43960091A | Vorarlberg | Weiler | 6837 | Treiet 43 | 47.3044 | 9.642 | UW Weiler Klaus | 1.499 | 22 | Weiler Trafostation 3 Fraxnerstraße | 966 m | 42.8 |  | 1 | 65 | PM not at site
92 | 240571A | 43240571A | Niederösterreich | Haag | 3350 | Reichhub 12 | 48.1111 | 14.5434 | UW Haag Süd | 3.078 | 27 | OSM 11510514495 | 1.44 km | 42.64 |  | 3 | 10 | PM at site
93 | 840263A | 43840263A | Tirol | Söll | 6306 | Eiberg 5 | 47.5311 | 12.1817 | UW Kufstein | 5.894 | 43 | OSM 9036525068 | 3.00 km | 41.64 |  | 1 | 5 | PM at site
94 | 150099A | 43150099A | Wien | Wien | 1110 | Haidestraße 1 | 48.1808 | 16.4272 | UW SCHWECHAT | 1.645 | 19 | OSM 12871677483 | 784 m | 41.38 |  | 1 | 150 | PM not at site
95 | 380008A | 43380008A | Niederösterreich | Reichenau a.d. Rax | 2651 | Greenfield | 47.7055 | 15.8304 | UW Hart | 8.931 | 27 | TST Hirschwang Edlach Mitte | 1.56 km | 41.24 |  | 2 | 10 | PM at site
96 | 220039B | 43220039B | Niederösterreich | Brunn am Gebirge | 2345 | Greenfield neben A21 | 48.1044 | 16.2557 | UW LIESING 10KV | 4.961 | 32 | OSM 10784899230 | 2.07 km | 40.48 |  | 2 | 300 | PM not at site
97 | 380085A | 43380085A | Oberösterreich | Behamberg | 4441 | Poststrasse 14 | 48.0224 | 14.4902 | UW STEYR | 4.466 | 61 | OSM 11764503438 | 4.96 km | 39.8 |  | 2 | 10 | PM at site
98 | 700034A | 43700034A | Salzburg | Salzburg | 5020 | Grst.Nr.: 2062/1 | 47.8243 | 13.0162 | UW Hagenau | 1.28 | 68 | OSM 13522925976 | 5.84 km | 38.15 |  | 2 | 5 | PM at site
99 | 800163A | 43800163A | Tirol | Wattens | 6112 | neben Vögelsberg 1, Gst. 41/1 | 47.2831 | 11.5922 | UW Wattens | 1.771 | 20 | Kerschbäumer | 1.04 km | 37.89 |  | 1 | 6 | PM at site
100 | 440309A | 43440309A | Steiermark | Graz | 8052 | GSt. -Nr.: 1107 | 47.0585 | 15.3421 | UW West | 5.939 | 54 | OSM 7480397094 | 4.54 km | 35.38 |  | 1 | 7 | PM at site